## Sheet1
HVAC SUPPLIES
Respondents Name:
TIER 1 - FIXED CONTRACT PRICING (INCLUDING STANDARD DELIVERY)
[8 empty] | IDENTICAL PRODUCT | [7 empty] | FUNCTIONAL EQUIVALENT
| Ref # | Product Description | Manufacturer Part Number | Manufacturer | UOM | Qty per UOM | Historical Annual Qty Purchased | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price
| AA01 | Cleaner, Evaporator/Condensor, Liquid, 1 GA | 4143-08 | Nu-Calgon | GA | 1 | 300
| AA02 | Diffuser, Ceiling, White, 8", Duct Size | TR-C-8W | American Louver | EA | 1 | 500
| AA03 | Line Filter/Dryer | SLD-8-4SV-HH | Parker | EA | 1 | 125
| AA04 | Fan Relay, 24 Vac | 90-293Q | White-Rodgers | EA | 1 | 100
| AA05 | Heat/Cool AC, 1100 BTU | FFRH1L2R1 | Frigidaire | EA | 1 | 200
| AA06 | Thermostat, Vertical, Non-Programmable | TH1110DV1009 | Honeywell | EA | 1 | 100
| AA07 | Thermocouple, 24" | H06E024 | White-Rodgers | EA | 1 | 100
| AA08 | Refrigerant, R-410A, 25 lb | Varies | Various | EA | 1 | 1500
| AA09 | Refrigerant, R-404A, 25 lb | Varies | Various | EA | 1 | 1500
| AA10 | Refrigerant, R-22, 30 lb | Varies | Various | EA | 1 | 500
| AA11 | Thermostat, Digital, Non programmable | 1F83-261 | White-Rodgers | EA | 1 | 100
| AA12 | Sensor, Indor, Cover | C7189U1005 | Honeywell | EA | 1 | 75
| AA13 | Pilot Ignitor System | 712-017 | Robertshaw | EA | 1 | 50
| AA14 | Sensor, Temperature | LP920A1039 | Honeywell | EA | 1 | 75
| AA15 | Compressor, 3 PH, 208,230V | ZR42K5E-TF5-800 | Copeland | EA | 1 | 25
| AA16 | Air Handler, 3 ton, multi position | ARUF37C14 | Goodman | EA | 1 | 2
| AA17 | Phase Monitor, 3-Phase | ICM450 | ICM | EA | 1 | 1
| AA18 | Mini-Split Heat Pump, 11800 BTU | MM12YJ | Friedrich | EA | 1 | 5
| AA19 | 060251 Sluction Line Filter-Drier | ALC SFD27S7VV | Emerson | EA | 1 | 5
| AA20 | 4 Ton 14 Seer Condensor 410A | GMC GSX140481 | Goodman | EA | 1 | 2
AA21
AA22
AA23
AA24
AA25
AA26
AA27
AA28